## Slide 1: Microscope Mania

## Slide 2: A
EYEPIECE
Contains the OCULAR lens

## Slide 3: B
NOSEPIECE
Holds the LOW- and HIGH- power objective LENSES; can be rotated to change MAGNIFICATION.

## Slide 4: C
OBJECTIVE LENS magnification ranges from 4x to 40x

## Slide 5: D
STAGE CLIPS
HOLD the slide in place

## Slide 6: E
STAGE
Supports the SLIDE being viewed.

## Slide 7: F
LIGHT SOURCE
Projects light UPWARD through the diaphragm, the SLIDE and LENSES

## Slide 8: G
BASE
Supports the MICROSCOPE

## Slide 9: H
DIAPHRAGM
Regulates the amount of LIGHT on the specimen

## Slide 10: I
FINE ADJUSTMENT KNOB
Moves the stage slightly to SHARPEN the image

## Slide 11: J
COARSE ADJUSTMENT KNOB
Moves the stage up and down for FOCUSING

## Slide 12: K
ARM
used to SUPPORT the micorscope when carried

## Slide 13
POWER = 10 x 4 = 40 x
POWER = 10 x 10 = 100 x
POWER = 10 x 40 = 400 x